PT ROBOTIC LLC  |  CLINICAL DESIGN REVIEW

TactileSense Phase 2  —  Spatial Movement Tracking

Clinical Input Questionnaire  —  J.C. Metivier, PT, DPT, AAOMPT Fellow

Context for J.C. TactileSense Phase 2 will add camera-based hand tracking to the platform, capturing not just finger pressure but also the direction, velocity, and type of hand movement during therapy. Your answers below will directly define how the system classifies and guides movement. Please answer in your own clinical language — technical translation is handled by the engineering team.

| 1 | Is the proposed gesture vocabulary clinically complete? The system currently recognises 10 movement types: static hold, linear proximal, linear distal, lateral medial glide, lateral glide, diagonal, circular clockwise, circular counter-clockwise, oscillation, and repositioning transition. Are any technique-defining movements missing? |
| --- | --- |

| 2 | What is the acceptable directional tolerance per technique? For each movement type, how much angular deviation is clinically acceptable before the PTA should receive a correction cue? (e.g. “a linear distal stroke must be within ±20 degrees”) |
| --- | --- |

| 3 | How should gesture mismatch trigger a correction — immediately or after a delay? If the PTA is performing the wrong movement type (e.g. circular when the DMR calls for linear), should the voice cue fire immediately, or only after the wrong gesture persists for N frames? What value of N feels right clinically? |
| --- | --- |

| 4 | Is movement velocity clinically meaningful, or is direction alone sufficient? The system can record and enforce both the direction and the speed of hand movement. Is stroke speed (fast vs. slow effleurage) a clinically significant variable worth guiding, or should the system guide direction only and leave pace to the PTA's judgment? |
| --- | --- |

| 5 | Is hold duration a meaningful clinical variable for trigger point and sustained pressure techniques? For static hold gestures, the system can record the required hold duration in milliseconds and alert the PTA if they release too early. Is minimum hold duration worth enforcing, and if so, what is a typical therapeutic hold window (e.g. 20–90 seconds)? |
| --- | --- |

| 6 | Should spatial tracking be required or optional when recording a new DMR? If the PT records a DMR session without a camera connected, should the system accept a pressure-only DMR, or require spatial data? This affects whether you can record anywhere (e.g. a patient's home) or only at a camera-equipped workstation. |
| --- | --- |

Any additional clinical notes or technique considerations:

| Signature — J.C. Metivier, PT, DPT |  | Date |
| --- | --- | --- |

Confidential  —  PT Robotic LLC  |  Document Ref: PTR-PH2-JC-Q001  |  March 2026